## Tariffs for annual capacity pro
Simplified calculation of the indicative natural gas transmission service tariffs
DISCLAIMER AND EXPLANATORY NOTES: The natural gas transmission system service tariffs the simplified tariff modeli are indicative and are not binding on the Latvian natural gas transmission system operator and natural gas transmission system users. The simplified tariff model is based on Commission Regulation (EU) 2017/460 of 16 March 2017 establishing a network code on harmonised transmission tariff structures for gas. With the help of the simplified tariff model, it is possible to set tariffs for annual capacity products.
1. | Forecasted capacities of natural gas transmission system entry and exit points.
1.1. | Capacities at the entry points of the transmission system | kWh/year | 23771224
1.1.1. | Entry point capacity Corneti | kWh/year | 0
1.1.2. | Input point capacity Kiemenai | kWh/year | 13501815
1.1.3. | Input point capacity Karksi | kWh/year | 0
1.1.4. | Input pointcapacity from IPGK | kWh/year | 9628622
1.1.5. | Entry point from Latvian production unit | kWh/year | 640787
1.2. | Exit point capacity of the transmission system | kWh/year | 21655012
1.2.1. | Exit point capacity Corneti | kWh/year | 0
1.2.2. | Exit point capacity Kiemenai | kWh/year | 1979818
1.2.3. | Exit point capacity Karksi | kWh/year | 0
1.2.4. | Exit point capacity for supplying Latvian users | kWh/year | 8596068
1.2.5. | Exit point capacity from natural gas storage | kWh/year | 11079126
1.3. | Forecast of natural gas volumes supplied to gasified objects connected to the natural gas transmission and distribution system during the year | kWh | 8596068000
1.4. | Charge for the use of the exit point for supplying Latvian users | kWh | 10474904543.5865
2. | Discount applied to the tariffs of the entry point from the natural gas storage facility and the exit point to the natural gas storage facility | % | 100%
3. | Cost of the total capacity reservation service | EUR | 42655775.149
4. | Inter-transmission system operator compensation (4.=1.3.*7.2) | EUR | 3362357.8859
5. | Costs attributable to biomethane entry point | EUR | 211500
6. | Permitted revenue (6.=3-4) | EUR | 39293417.2631
7. | Tariffs for annual capacity products
7.1. | Annual standard capacity product tariff for entry points from another transmission entry-exit system by FinEstLat single natural gas transmission entry-exit system transmission operators and regulators by agreement) | EUR/kWh/d/year | 0.14277
7.2. | Annual standard capacity product tariff for entry points from another transmission entry-exit system | EUR/kWh/d | 0.00039115
7.3. | Annual standard capacity product tariff for the entry point from a natural gas storage facility (7.3=7.1*(1-2)) | EUR/kWh/d/year | 0
7.4. | Tariff of the annual standard capacity product for exit points to another transmission entry-exit system (7.4=7.1) | EUR/kWh/d/year | 0.14277
7.5. | Tariff of the annual standard capacity product for the exit point to the natural gas storage (7.5=7.4*(1-2)) | EUR/kWh/d/year | 0
7.6. | Tariff of the annual standard capacity product at entry points from renewable and low-carbon gas production facilities | EUR/kWh/d/year | 0.33006
7.7. | Charge for the use of the exit point for supplying Latvian users | EUR/kWh/d/year | 0.0034684